## Slide 1: Lecture 4

## Slide 2: Balanced 3 Phase () Systems
A balanced 3 phase () system has
  three voltage sources with equal magnitude, but with an angle shift of 120
  equal loads on each phase
  equal impedance on the lines connecting the generators to the loads
Bulk power systems are almost exclusively 3
Single phase is used primarily only in low voltage, low power settings, such as residential and some commercial

## Slide 3: Balanced 3 -- No Neutral Current

## Slide 4: Advantages of 3 Power
Can transmit more power for same amount of wire (twice as much as single phase)
Torque produced by 3 machines is constrant
Three phase machines use less material for same power rating
Three phase machines start more easily than single phase machines

## Slide 5: Three Phase - Wye Connection
There are two ways to connect 3 systems
  Wye (Y)
  Delta ()

## Slide 6: Wye Connection Line Voltages
Van
Vcn
Vbn
Vab
Vca
Vbc
-Vbn
Line to line
voltages are
also balanced
(α = 0 in this case)

## Slide 7: Wye Connection, cont’d
Define voltage/current across/through device to be phase voltage/current
Define voltage/current across/through lines to be line voltage/current

## Slide 8: Delta Connection
Ica
Ic
Iab
Ibc
Ia
Ib

## Slide 9: Three Phase Example
Assume a -connected load is supplied from a 3 13.8 kV (L-L) source with Z = 10020W

## Slide 10: Three Phase Example, cont’d

## Slide 11: Delta-Wye Transformation

## Slide 12: Delta-Wye Transformation Proof

## Slide 13: Delta-Wye Transformation, cont’d

## Slide 14: Three Phase Transmission Line