## Slide 1: Electric shock

## Slide 2: Electric shock
A shock is a painful stimulation of sensory nerves cause by a sudden flow, cessation or variation in the current passing through the body.
It can be caused by poorly designed or badly serviced electro medical apparatus

## Slide 3: Severity of shock
The greater the current which passes through the body the more sever is the shock
In accordance with the Ohm’s law the magnitude of current depends on the EMF and the resistance.
Most apparatus used in physiotherapy department is plugged into the main supply this therefore represents a hazard as a source of electric shock

## Slide 4: Effects of electric shock
Following a minor shock the victim may be frightened and distressed, but does not lose consciousness.
After a more severe electric shock there is a fall in blood pressure and sometimes loss consciousness.
In extreme cases there is cessation of respiration with cardiac arrest absence of pulse in the carotid artery and fully dilated pupils.

## Slide 5: Treatment of electric shock
Disconnect the victim from the source of supply
In minor shock the victim is reassured and allowed to rest water may be given to drink not hot water because it cause vasodilatation and sweating which farther causes fall in BP
In all cases it is advisable to consult a medical officer

## Slide 6
If the shock is more severe the victim is
Laid flat
Tight clothing is loosened and plenty of air allowed
Undue warmth is avoided
If patient is unconscious M.O is summoned without delay
If respiration is ceased the airway is cleared and artificial respiration commenced immediately

## Slide 7
If case of cardiac arrest CPR is highly recommended.

## Slide 8: Causes of shock and precautions
All apparatus should be tested before use
Controls should be checked to ensure that they are at zero before switching on
Patient should never be allowed to touch electrical equipments